## SPECIFICATION

# EDGES AND FRAMES

DECOCHOC / DECOSMIC

PROTECTION AND COVERING PANELS – BENDS INTO L & U SHAPES

- Description: 2 mm thick door protection and covering panel with bends into L or U for edge or frame protection (Decochoc or Decosmic as manufactured by SPM) from rigid and antibacterial PVC achieving Bs2d0 fire rating with solid colour and slightly textured surface.

- Environment: no heavy metals and no substance potentially subjected to any REACH restriction are used in its manufacture, nor PBT/ BPA. The calcium-zinc thermal stabilization process is used. The emission level of volatile substance in inside air has been tested according to ISO 16000-6 and is very low (A+) according to the French regulation (23 March 2011 nr 2011-321 Decree and 19 April 2011 Order). 100% of the product are recyclable.

- Colour: selected by architects from manufacturer’s standard range

- Installation method: glue as per manufacturer’s instructions.